## Slide 1: Standardization
meetMED II
Activity 3.1.2 Training Seminar
“Fundamentals of Energy Services and Energy Performance Contracting”
Aristotelis Botzios-Valaskakis
Senior Expert, Centre for Renewable Energy Sources and Energy Saving

## Slide 2
Standardized EE (Energy Performance Contracting) and RES (Energy Supply Contracting) measures
For avoiding complex and individual designs per project, technology-specific measures are standardized in their design, implementation and quality assurance. Examples include:
Indoor lights: LED lights + control system
Hydraulic adjustment of heating system
Modernization of heating pumps
Modernization of electrical motors
Energy efficient ventilation and/or cooling
Managing and metering systems for buildings
Renovation/replacement of heating boilers
Waste Heat Recovery
Replacement of boilers and chiller with a heat pump
Solar DHW
Biomass heating systems
CHP
PV-panels
Heat pumps

## Slide 3
Simplified measurement and verification. As comprehensive M&V of savings in EPC projects increase their transaction costs, simplified M&V methods are customized for each EE and RES measure (usually following Method A of the IPMVP).
Simplified EPC models. Similar to existing EPC model contracts, standardized and simplified contracts are elaborated to reduce transaction costs and increase understanding of them.
Standardization increases understanding, creates trust and therefore reduces the performance risk of energy services.

## Slide 4: Contact us!
www.meetmed.org meetMED Project
@meetmed1
For any inquires or comments, please don’t hesitate to contact us