## Slide 1: ÉQUIPEMENTS ET SYSTEMES ÉNERGÉTIQUES - INTRODUCTION
Formation sur GRASSMED – MEETMED II
WP3_A3.1.6
Marrakech 6 février 2024

## Slide 2: Grandes Lignes
Conception et équipements des système énergétiques des bâtiments verts ?
Quels sont les principaux objectifs d’une conception et d’un équipement énergétiques appropriés?
Quels sont les facteurs en jeu?
Quels sont les différents points à évaluer?
Principes directeurs pour la conception et l'équipement énergétiques
  Choisir un chauffe-eau solaire
  Utiliser les technologies des énergies renouvelables
  Utiliser la lumière du jour
  Utiliser la ventilation naturelle et mécanique
  Prendre en compte l’efficacité de l’éclairage des bâtiments et des parkings
  Concevoir et sélectionner de systèmes (CVC, chaudières…) et rideaux d'air
  Avoir un groupe électrogène de secours
  Promouvoir les systèmes de gestion des bâtiments.
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 3: Conception et équipements des système énergétiques des bâtiments verts ?
Les bâtiments économes en énergie sont des structures conçues et construites pour consommer moins d’énergie qu’un bâtiment conventionnel de même taille.
Il s’agit de la conception et de la sélection de systèmes et d'équipements économes en énergie qui minimisent la consommation d'énergie et réduisent les émissions de gaz à effet de serre dans les bâtiments.
Ces systèmes et équipements peuvent inclure des systèmes de chauffage, de ventilation et de climatisation (CVC), des systèmes d'éclairage, des systèmes d'énergie renouvelable (tels que des systèmes de chauffe-eau solaires, des panneaux solaires ou des éoliennes) et des systèmes d'automatisation des bâtiments (comme les thermostats intelligents et les commandes d'éclairage).
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 4: Quels sont les principaux objectifs d’une « conception d’un équipement énergétique » appropriés ?
Reduction de la consomation : Les systèmes et équipements économes en énergie peuvent réduire considérablement la consommation d'énergie
Économies d’argent : Les systèmes et équipements économes en énergie peuvent permettre aux propriétaires et aux occupants de bâtiments d'économiser de l'argent sur leurs factures énergétiques
Qualité de l'air intérieur : les systèmes CVC économes en énergie peuvent améliorer la qualité de l'air intérieur en filtrant les polluants et en assurant une ventilation adéquate.
Confort : les systèmes et équipements économes en énergie peuvent assurer un meilleur contrôle de la température et de l'humidité, améliorant ainsi le confort.
Environnement: Les systèmes et équipements économes en énergie peuvent réduire les impacts sur l’environnement et contribuer à créer des bâtiments plus durables.
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 5: Quels sont les facteurs en jeu ?
Systèmes de chauffage, de ventilation et de climatisation (CVC) : les systèmes CVC sont l'un des plus gros consommateurs d'énergie dans les bâtiments.
Groupes Électrogènes de secours efficaces : réduisez les impacts environnementaux des générateurs diesel en sélectionnant des systèmes d'échappement appropriés avec filtration de l'air et installez des systèmes de récupération de chaleur.
Systèmes d'éclairage : L'éclairage est un autre contributeur important à la consommation d'énergie dans les bâtiments et les espaces de stationnement.
Systèmes d'énergie renouvelable : systèmes d'énergie renouvelable tels que le chauffe-eau solaire, les panneaux électriques solaires, les éoliennes et les systèmes hybrides.
Systèmes de gestion du bâtiment : les systèmes d'automatisation du bâtiment (SGB) peuvent être utilisés pour contrôler et optimiser les systèmes du bâtiment, y compris les systèmes de CVC et d'éclairage.
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION
Notes: Ajouter peut-etre le chauffe eu efficace?

## Slide 6: Quels sont les différents systèmes à évaluer ?
Il existe 8 grandes lignes importantes pour évaluer la conception des systèmes énergétiques d’un bâtiment et la sélection des équipements, dans GRASSMED, détaillées respectivement dans les chapitres 1 à 8 de la section IV :
Chauffe eau solaire
Technologies des énergies renouvelables
Efficacité de l’éclairage des bâtiments et des parkings
Conception et choix de systèmes (CVC, chaudières…) et rideaux d'air
Électricité de secours
Système de gestion de bâtiment
Conception de lumière du jour
Ventilation naturelle et mécanique
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 7: Principes directeurs
Choisir un chauffe-eau solaire
  Direct circulation systems
  Pumps circulate household water through the collectors and into the home. They work well in climates where it rarely freezes.
  Demande en eau chaude et dimensionnement adapté
  Produits à haute efficacité
  Bonne orientation
  Contrôles et capteurs appropriés
Utiliser les technologies des énergies renouvelables
  Identifier et dimensionner
  Produits de haute qualité
  Surveillance et maintenance du système
Utiliser la ventilation naturelle et mécanique
  Orientation pour un meilleur éclairage naturel
  Vitrage et ombrage économes en énergie
  Contrôles et capteurs appropriés
  Utilisation des stratégies de design d'intérieur
  Mettre en œuvre de la conception lumière du jour
  Déterminer l'occupation
  Utiliser la ventilation naturelle lorsque cela est possible
  Utiliser une ventilation mécanique efficace
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 8: Principes directeurs
  Direct circulation systems
  Pumps circulate household water through the collectors and into the home. They work well in climates where it rarely freezes.
Avoir de l'électricité de secours
  Système de secours fiable
  Dimensionnement approprié
  Produits à haute efficacité
Promouvoir les systèmes de gestion des bâtiments
  Mettre en œuvre un BMS(SGB) pour surveiller et contrôler
  Utiliser l’analyse des données et l’IA pour optimiser la consommation
  Maintenance régulière
Prendre en compte l’efficacité de l’éclairage des bâtiments et des parkings
  Des luminaires efficaces
  Commandes d’éclairage et conception appropriée
  Stratégies d'éclairage naturel
  Conception et sélection de systèmes (CVC, chaudières…) et rideaux d'air
  Produits à haute efficacité
  Dimensionnement approprié
  Rideaux d'air pour séparer les environnements intérieurs et extérieurs
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 9
TOOLS
Energy System Design and Equipment
Renewable Energy
Solar Water Heating
Natural Ventilation
Daylight Factors
Efficient Lighting
Mechanically Controlled Ventilation
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
Building Management System
Back Up Electricity
GRASS Tool
% of Hot Water Demand Covered
% of Renewable Energy
Average Daylight & Compliance Factor
Design Recommendation
Mechanical Ventilation Requirement
Requirements
Luminaire Efficacy
AFUE/ Exhaust Stack/ Innovation
Increase in Efficiency Factor IEF
Exhaust Stack/ Innovation
BMS components
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 10
Renewable Energy
Natural Ventilation
Daylight Factors
Efficient Lighting
Mechanically Controlled Ventilation
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
Building Management System
Back Up Electricity
TOOLS
Energy System Design and Equipment
Solar Water Heating
GRASS Tool
% of Hot Water Demand Covered
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 11
Solar Water Heating
Natural Ventilation
Daylight Factors
Efficient Lighting
Mechanically Controlled Ventilation
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
Building Management System
Back Up Electricity
TOOLS
Energy System Design and Equipment
Renewable Energy
GRASS Tool
% of Electrical Renewable Energy
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION
Maximum Scoring for Residential Buildings | 15
Maximum Scoring for Commercial Buildings | 15
Commercial and Residential BUILDING percentage of usage | Scoring Points
4%-10% | 6
11 %-20 % | 9
21 %-30% | 12
≥ 31 % | 15
Notes: Trop faible

## Slide 12
Renewable Energy
Solar Water Heating
Natural Ventilation
Efficient Lighting
Mechanically Controlled Ventilation
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
Building Management System
Back Up Electricity
TOOLS
Energy System Design and Equipment
Daylight Factors
GRASS Tool
Average Daylight & Compliance Factor
- 𝐕𝐭: transmittance of glass including dirt effect.
- 𝐀𝐆𝐥𝐚𝐳𝐢𝐧𝐠: net glazing area.
- 𝛉: the sky exposure angle, in degrees, the portion of the sky visible from the center of the window.
- As: total area of internal surfaces (i.e. the sum of the total surface area of walls including windows, ceiling, and floor).
- R: equivalent reflectance of surfaces of walls, ceiling, floors.
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 13
Renewable Energy
Solar Water Heating
Natural Ventilation
Efficient Lighting
Mechanically Controlled Ventilation
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
Building Management System
Back Up Electricity
TOOLS
Energy System Design and Equipment
Daylight Factors
GRASS Tool
Average Daylight & Compliance Factor
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 14
Renewable Energy
Solar Water Heating
Efficient Lighting
Mechanically Controlled Ventilation
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
Building Management System
Back Up Electricity
TOOLS
Energy System Design and Equipment
Daylight Factors
GRASS Tool
Design recommendation | Scoring Points
Maximize wind-induced ventilation by siting the ridge of a building perpendicular to the summer winds | 5
Each room should have two separated supply and exhaust openings: 1.Locate exhaust high above inlet to maximize stack effect | 3
2.Locate openings away from outdoor sources of pollutants and noise | 3
Provide ridge vents | 1
Allow for adequate internal airflow | 1
Consider the use of clerestories or vented skylights | 1
Apply Ventilation Configuration properly | 6
Natural Ventilation
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION
Design Recommendation

## Slide 15
Renewable Energy
Solar Water Heating
Natural Ventilation
Daylight Factors
Efficient Lighting
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
Building Management System
Back Up Electricity
TOOLS
Energy System Design and Equipment
Mechanically Controlled Ventilation
GRASS Tool
Mechanical Ventilation Requirement
Meet the minimum requirements of ventilation rate in
ASHRAE 62.2
𝐂𝐅𝐌 =𝟎.𝟎𝟏(𝐀𝐒𝐅)+𝟕.𝟓(𝐍𝐁𝐑+𝟏)
- Asf: area of the room
- Nbr: number of rooms
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION
Notes: 1 cfm = 1,7 m3/h

## Slide 16
Renewable Energy
Solar Water Heating
Natural Ventilation
Daylight Factors
Efficient Lighting
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
Building Management System
Back Up Electricity
TOOLS
Energy System Design and Equipment
Mechanically Controlled Ventilation
GRASS Tool
Mechanical Ventilation Requirement
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 17
Renewable Energy
Solar Water Heating
Natural Ventilation
Daylight Factors
Mechanically Controlled Ventilation
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
Building Management System
Back Up Electricity
TOOLS
Energy System Design and Equipment
Efficient Lighting
GRASS Tool
Luminaire Efficacy
Requirements | Scoring points
Total Power installed ≤ 2.5 W/m2/100 lux | 15- residential 25- commercial
No Incandescent lamps are installed | 
Install lamps to be efficient within their typical applications | 
Proposed equipment must be UL, ETL or equivalent | 
Replace electromagnetic ballast by electronic ballast | 
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION
Notes: UL & ETL: These standards ensure that electrical products are safe

## Slide 18
Renewable Energy
Solar Water Heating
Natural Ventilation
Daylight Factors
Mechanically Controlled Ventilation
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
Building Management System
Back Up Electricity
TOOLS
Energy System Design and Equipment
Efficient Lighting
GRASS Tool
Parking Luminaire Efficacy
Case 1: all the parking lots are underground or covered. | Scoring Points
LE > 60 lm/W | 2
Case 2: all the parking lots are uncovered. | Scoring Points
LE > 50 lm/W | 2
Case 3: parking area is divided into covered and uncovered lots. | Scoring Points
Covered: LE > 60 lm/W | 1
Uncovered: LE > 50 lm/W | 1
Parking Structure Luminaire General Secondary Requirements for both covered and uncovered | Scoring Points
Replace traditional high-intensity discharge (HID) lighting sources with fluorescent, induction, and light-emitting diode (LED) lighting sources | 2
Achieve Minimum Horizontal lux value w.r.t parking area | 1
Achieve Minimum Vertical lux value w.r.t parking area | 1
Stain the ceilings white | 1
80% of the luminaire material by weight should be recyclable at end of life. | 1
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 19
Back Up Electricity
Renewable Energy
Solar Water Heating
Natural Ventilation
Daylight Factors
Efficient Lighting
Mechanically Controlled Ventilation
High Efficiency Parking Structure Lighting
HVAC Optimization
TOOLS
Energy System Design and Equipment
GRASS Tool
Boiler/Furnace Requirements
Building Management System
Boiler Effectiveness
Design Requirements | Scoring Points
Boiler/Furnace AFUE | Scoring Points
Mid-efficiency: 80%–85% | 3
Intermediate-efficiency: 85.1%–89.9% | 5
High-efficiency: ≥ 90% | 7
Boiler/Furnace Exhaust Stack criteria | Scoring Points
Far from air intakes of other buildings | 1
Mid-efficient Air Filters | 1
High-efficient Air Filters | 2
Boiler/Furnace Innovation | Scoring Points
Condensing unit | 1
Heat Recovery Application | 2
Energy Star label or equivalent label | 1
Install CO detector | 1
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 20
Renewable Energy
Solar Water Heating
Natural Ventilation
Daylight Factors
Efficient Lighting
Mechanically Controlled Ventilation
Boiler Effectiveness
High Efficiency Parking Structure Lighting
Building Management System
Back Up Electricity
TOOLS
Energy System Design and Equipment
HVAC Optimization
GRASS Tool
Increase in Efficiency Factor IEF
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 21
Renewable Energy
Solar Water Heating
Natural Ventilation
Daylight Factors
Efficient Lighting
Mechanically Controlled Ventilation
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
Building Management System
TOOLS
Energy System Design and Equipment
Back Up Electricity
GRASS Tool
Back-up Energy Requirements
Requirement Applied | Scoring points
Install Sound Attenuators and Vibration Dampers | Prerequisite
Install catalyzers for air filtration | 2
Exhaust Stack’s Specifications | Scoring points
Install Effective optimal exhaust stacks | Prerequisite
Install away from air intakes of other building | 1
Innovation | Scoring points
Install Heat Recovery unit | 7
Use 2% - 5% Biodiesel fuel | 1
Use 5.1% - 10% Biodiesel fuel | 2
Use 10.1% - 15% Biodiesel fuel | 3
Use 15.1% - 20% Biodiesel fuel | 4
Use ≥ 20.1% Biodiesel fuel | 5
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 22
Back Up Electricity
Renewable Energy
Solar Water Heating
Natural Ventilation
Daylight Factors
Efficient Lighting
Mechanically Controlled Ventilation
Boiler Effectiveness
High Efficiency Parking Structure Lighting
HVAC Optimization
TOOLS
Energy System Design and Equipment
GRASS Tool
BMS Requirements
BMS comprises | Scoring Points
Power Systems | 2
Illumination System | 3
Electric Power Control System | 10
HVAC System/CO2 sensors for Mechanical Ventilation. | Refer to credit EDE-5A - lighting
Building Management System
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION

## Slide 23: Nous contacter!
ENERGY DESIGN AND EQUIPMENT (EDE) - INTRODUCTION
www.meetmed.org
meetMED Project
@meetmed1
Pour toute demande ou commentaire, n'hésitez pas à nous contacter
www.almeelebanon.com
almeelb
AlmeeLB
AlmeeLB
almeelb